## HTHP Questionnaire
1. PROJECT DATA AND CONTACT INFORMATION
Company / Name
Phone / Email
Planned Commissioning Date |  |  | ?
Contact Person
Plant Location (country)
Plant Location (city, street)
2. HEAT SOURCE (SOURCE SIDE)
Heat Source Type | Process waste heat |  | ?
Available Heat Capacity |  | kW | ?
Source Inlet Temperature |  | °C | ?
Source Outlet Temperature (min.) |  | °C | ?
Source Side Pressure |  | bar | ?
Heat Transfer Medium Source | Water |  | ?
Year-Round Availability? | Yes |  | ?
Seasonal? From - To: |  |  | ?
3. HEAT CONSUMER (SINK SIDE)
Application Type | Steam generation |  | ?
3a. FOR HOT WATER GENERATION:
Sink inlet supply Temperature / feed water Temperature |  | °C | ?
Required Outlet Temperature |  | °C | ?
Minimum Outlet Temperature |  | °C | ?
Mass flow |  | kg/s | ?
Required Heat Capacity |  | kW | ?
Operating Mode | Continuous |  | ?
Daily Operating Hours |  | h/day
3b. FOR STEAM GENERATION:
System configuration/ Flow system | Open-loop continuous flow system |  | ?
Feed water/steam temperature |  | °C | ?
Feed water/steam pressure |  | bar (abs.) | ?
Feed water/supply mass flow |  | kg/h | ?
Steam target pressure |  | bar (abs.) | ?
Output steam quality | Saturation |  | ?
Saturation Temperature at Steam Pressure |  | °C | ?
Required superheat |  | K (if Superheated) | ?
Steam Operating Mode | Continuous |  | ?
Daily Operating Hours |  | h/day
OPTIONAL: Additional heat consumer
Sink inlet supply Temperature / feed water Temperature |  | °C | ?
Required Outlet Temperature |  | °C | ?
Minimum Outlet Temperature |  | °C | ?
Required Heat Capayity |  | kW | ?
Operating Mode | Continuous |  | ?
Daily Operating Hours |  | h/day
4. INFRASTRUCTURE AND SUPPLY
Electrical Power Supply Available | 3x400V
Available Power: |  | kW | ?
Cooling Water Available eg sea water/ river | No
Temperature: |  | °C
Condenser Cooling Water Volume Flow |  | m³/h
Water Hardness (if known) |  | °dH or mg/L CaCO₃
5. OPTIMIZATION AND INTEGRATION
number of additional waste heat flows | 1
Waste Heat 1
Heat Source Variability | Constant
Supply Temperature |  | °C
Outlet Temperature |  | °C
Supply Pressure |  | bar (abs.)
Medium
Mass flow |  | kg/h
Waste Heat 2
Heat Source Variability | Constant
Supply Temperature |  | °C
Outlet Temperature |  | °C
Supply Pressure |  | bar (abs.)
Medium
Mass flow |  | kg/h
Waste Heat 3
Heat Source Variability | Constant
Supply Temperature |  | °C
Outlet Temperature |  | °C
Supply Pressure |  | bar (abs.)
Medium
Mass flow |  | kg/h
Modulation Required? | Yes |  | ?
Range: |  | %
Storage Option Available? | No
Volume: |  | m³
6. LOCATION AND ENVIRONMENTAL CONDITIONS
Available Installation Space | Indoor
Room Temperature Winter |  | °C
Summer: |  | °C
Air Humidity (if relevant) |  | %
Altitude |  | m a.s.l.
Vibration/Noise Sensitivity | Medium
7. SAFETY AND PERMISSIONS
Pressure Equipment Directive (PED)? | Yes |  | ?
Category (if Yes):
ATEX Requirements | No
ATEX Zone
Safety Valves Required? | Yes
Max. Pressure: |  | bar
Sound Protection Requirement
dB(A) at Distance: |  | m
Other Permits/Standards | -
8. ECONOMIC PARAMETERS
Electricity Price |  | €/kWh
Gas Price (if relevant) |  | €/kWh
Available Investment Budget |  | €
Required Payback Period |  | Years
Planned Annual Operating Hours |  | h/a
NOTES AND ADDITIONAL INFORMATION